## CategoryA
ID | Utilities | Unit Cost | Outsourcing | System Type | Supplier
1 | 1 Loop Intelligent Fire Panel, Non-Networkable, No Lock – 20 Zone LEDs | 8812.05 | No | Conventional | TechnoSwitch
2 | 1 Loop Intelligent Control Panel | 10800 | No | Addressable | TechnoSwitch
3 | 2 Loop Intelligent Control Panel c/w 1 Loop Card | 16000 | No | Gas Suppression | TechnoSwitch
4 | 2 Loop Intelligent Control Panel c/w 2 Loop Card | 16999 | No | Air Sampling | TechnoSwitch
5 | 4 Loop Intelligent Control Panel c/w 1 Loop Card | 20490 | No | Beams | TechnoSwitch
6 | 4 Loop Intelligent Control Panel c/w 2 Loop Card | 21500 | No | Conventional | TechnoSwitch
7 | 4 Loop Intelligent Control Panel c/w 3 Loop Card | 22900 | No | Addressable | TechnoSwitch
8 | 4 Loop Intelligent Control Panel c/w 4 Loop Card | 23900 | No | Gas Suppression | TechnoSwitch
9 | 8 Loop Intelligent Control Panel c/w 8 Loops (Std Network) | 85600 | No | Air Sampling | TechnoSwitch
10 | 8 Loop Intelligent Control Panel c/w 8 Loops (Fault Tolerant Network) | 96000 | No | Beams | TechnoSwitch
11 | Remote Display Terminal – No Control | 8250 | No | Conventional | TechnoSwitch
12 | Remote Control Terminal – Small with Basic Control Functions | 10100 | No | Addressable | TechnoSwitch
13 | Remote Control Terminal – Large with Additional Control Functions | 14200 | No | Gas Suppression | TechnoSwitch
14 | Remote Display Terminal – No Control – Fault Tolerant | 17850 | No | Air Sampling | TechnoSwitch
15 | Remote Control Terminal – Small with Basic Control Functions – Fault Tolerant | 19860 | No | Beams | TechnoSwitch
16 | Remote Control Terminal – Large with Additional Control Functions – Fault Tolerant | 19500 | No | Conventional | TechnoSwitch
17 | Touchscreen Terminal for TC4000/5000 – Standard Network | 31250 | No | Addressable | TechnoSwitch
18 | Touchscreen Terminal for TC4000/5000 – Fault Tolerant Network | 39600 | No | Gas Suppression | TechnoSwitch
19 | Surface Mount Back Box for Touchscreen Terminal | 1200 | No | Air Sampling | TechnoSwitch
20 | 50 Zone LED Card (Red) – Medium Enclosure | 2900 | No | Beams | TechnoSwitch
21 | 25 Zone LED Card (Red/Yellow) – Medium Enclosure | 2900 | No | Conventional | TechnoSwitch
22 | 50 Zone LED Card (Yellow) – Medium Enclosure | 2900 | No | Addressable | TechnoSwitch
23 | 50 Zone LED Card (Red) – Large Enclosure | 3500 | No | Gas Suppression | TechnoSwitch
24 | 25 Zone LED Card (Red/Yellow) – Large Enclosure | 3500 | No | Air Sampling | TechnoSwitch
25 | 50 Zone LED Card (Red/Yellow) – Large Enclosure | 5100 | No | Beams | TechnoSwitch
26 | 100 Zone LED Card (Red/Yellow) – Large Enclosure | 6850 | No | Conventional | TechnoSwitch
27 | Single Loop Driver Card | 1650 | No | Addressable | TechnoSwitch
28 | Standard Network Card (for TC4000/5000 panels) | 2550 | No | Gas Suppression | TechnoSwitch
29 | 2-Way Relay Card (On-board) | 1650 | No | Air Sampling | TechnoSwitch
30 | Fault Tolerant Network Card | 5400 | No | Beams | TechnoSwitch
31 | Printer Assembly – Fitted | 5700 | No | Conventional | TechnoSwitch
32 | Printer Assembly – Retro Fit | 5700 | No | Addressable | TechnoSwitch
33 | P-Bus 8-Way Conventional Zone Card | 6300 | No | Gas Suppression | TechnoSwitch
34 | P-Bus 10-Way Switch Input Card | 5500 | No | Air Sampling | TechnoSwitch
35 | P-Bus 16-Way Switch Module, 3 Programmable LEDs | 5200 | No | Beams | TechnoSwitch
36 | P-Bus Mimic Driver Card (16 Input + 48 Output) | 4500 | No | Conventional | TechnoSwitch
37 | Semi-Flush Bezel for TC5000 – Small Enclosure | 1400 | No | Addressable | TechnoSwitch
38 | Semi-Flush Bezel for TC5000 – Medium Enclosure | 1450 | No | Gas Suppression | TechnoSwitch
39 | Semi-Flush Bezel for TC5000 – Large Enclosure | 1500 | No | Air Sampling | TechnoSwitch
40 | Semi-Flush Bezel for TC5010/5020 | 1350 | No | Beams | TechnoSwitch
41 | AlarmCalm Button with Buzzer (Apollo) | 1250 | No | Conventional | TechnoSwitch
42 | P-Bus 4-Way Sounder Card | 4300 | No | Addressable | TechnoSwitch
43 | P-Bus 4-Way Sounder Card with 4A PSU | 8450 | No | Gas Suppression | TechnoSwitch
44 | P-Bus 4-Way Relay Card | 3850 | No | Air Sampling | TechnoSwitch
45 | P-Bus 4-Way Relay Card with 1.5A PSU | 6250 | No | Beams | TechnoSwitch
46 | Mimic Driven 10-Way Relay Output Card | 3450 | No | Conventional | TechnoSwitch
47 | DIN Rail Single 58V, 1.25A Surge Arrestors for TC4000/5000 | 3250 | No | Addressable | TechnoSwitch
48 | 50-Way Network I/O Controller (card only) | 11400 | No | Gas Suppression | TechnoSwitch
49 | 100 Way Network Mimic Controller (card only) | 11300 | No | Air Sampling | TechnoSwitch
50 | BMS/Graphics Interface Card Only | 6850 | No | Beams | TechnoSwitch
51 | BMS/Graphics Interface Boxed | 7250 | No | Conventional | TechnoSwitch
52 | BMS/Graphics with Fault Tolerant Interface | 12150 | No | Addressable | TechnoSwitch
53 | BMS/Graphics Interface Card Only – Fault Tolerant | 15000 | No | Gas Suppression | TechnoSwitch
54 | ipGateway Card Only | 9000 | No | Air Sampling | TechnoSwitch
55 | ipGateway (Boxed) | 11050 | No | Beams | TechnoSwitch
56 | ipGateway (Boxed) – Fault Tolerant | 19200 | No | Conventional | TechnoSwitch
57 | ipGateway Card Only – Fault Tolerant | 17100 | No | Addressable | TechnoSwitch
58 | Commander – BACNet/Modbus (IP) Integration (Unconfigured) | 33950 | No | Gas Suppression | TechnoSwitch
59 | XP95 Optical Smoke Detector | 300 | No | Air Sampling | TechnoSwitch
60 | XP95 Fixed Temperature Heat Detector; Class A2/S (55°C) | 330 | No | Beams | TechnoSwitch
61 | XP95 Fixed Temperature Heat Detector; Class C/S (90°C) | 465 | No | Conventional | TechnoSwitch
62 | XP95 Mounting Base | 35 | No | Addressable | TechnoSwitch
63 | XP95 Isolating Base | 215 | No | Gas Suppression | TechnoSwitch
64 | XP95 Heated Base | 345 | No | Air Sampling | TechnoSwitch
65 | XP95 Low Power Relay Base | 455 | No | Beams | TechnoSwitch
66 | XP95 Isolator (must be used with base AP-XP-IB) | 330 | No | Conventional | TechnoSwitch
67 | XP95 Isolator base (used with AP-XP-ISL) | 55 | No | Addressable | TechnoSwitch
68 | XP95 Blank XPERT Card | 16 | No | Gas Suppression | TechnoSwitch
69 | XP95 Optical Smoke Detector – Black | 975 | No | Air Sampling | TechnoSwitch
70 | XP95 Mounting Base – Black | 120 | No | Beams | TechnoSwitch
71 | Apollo Remote Alarm Indicator | 92 | No | Conventional | TechnoSwitch
72 | Technoswitch Remote Indicator | 73 | No | Addressable | TechnoSwitch
73 | Discovery Heat Detector Fixed or ROR; Class Selectable (65-100°C) | 395 | No | Gas Suppression | TechnoSwitch
74 | Discovery Ionisation Smoke Detector | 675 | No | Air Sampling | TechnoSwitch
75 | Discovery Multi-sensor Detector | 522 | No | Beams | TechnoSwitch
76 | Discovery Optical Smoke Detector | 410 | No | Conventional | TechnoSwitch
77 | Discovery Carbon Monoxide Fire Detector | 875 | No | Addressable | TechnoSwitch
78 | Discovery Carbon Monoxide / Heat Multisensor | 975 | No | Gas Suppression | TechnoSwitch
79 | XP95 Mounting Base | 35 | No | Air Sampling | TechnoSwitch
80 | XP95 Blank XPERT Card | 16 | No | Beams | TechnoSwitch
81 | XP95 Detector Labels – Loop 1 | 50 | No | Conventional | TechnoSwitch
82 | XP95 Detector Labels – Loop 2 | 50 | No | Addressable | TechnoSwitch
83 | XP95 Detector Labels – Loop 3 | 50 | No | Gas Suppression | TechnoSwitch
84 | XP95 Detector Labels – Loop 4 | 50 | No | Air Sampling | TechnoSwitch
85 | XP95 Detector Labels – Loop 5 | 50 | No | Beams | TechnoSwitch
86 | XP95 Detector Labels – Loop 6 | 50 | No | Conventional | TechnoSwitch
87 | XP95 Detector Labels – Loop 7 | 50 | No | Addressable | TechnoSwitch
88 | XP95 Detector Labels – Loop 8 | 50 | No | Gas Suppression | TechnoSwitch
89 | Discovery MCP with Isolator, Red (Surface) | 575 | No | Air Sampling | TechnoSwitch
90 | Discovery MCP (New Version) | 465 | No | Beams | TechnoSwitch
91 | Discovery MCP2 with Isolator, Blue | 777 | No | Conventional | TechnoSwitch
92 | Discovery MCP2 with Isolator, Green | 777 | No | Addressable | TechnoSwitch
93 | Discovery MCP2 with Isolator, White | 777 | No | Gas Suppression | TechnoSwitch
94 | Discovery MCP2 with Isolator, Yellow | 777 | No | Air Sampling | TechnoSwitch
95 | Discovery Waterproof MCP with Isolator (New Style) | 1750 | No | Beams | TechnoSwitch
96 | Discovery Waterproof Red MCP IP67 with Isolator (KAC Style) | 2000 | No | Conventional | TechnoSwitch
97 | Discovery Waterproof Yellow MCP with Isolator (KAC Style) | 2100 | No | Addressable | TechnoSwitch
98 | Discovery MCP2 Hinged Flap | 55 | No | Gas Suppression | TechnoSwitch
99 | Discovery MCP2 Reset Keys (10 Pack) | 120 | No | Air Sampling | TechnoSwitch
100 | MCP Test Keys (10 Pack) | 90 | No | Beams | TechnoSwitch
101 | MCP Transparent Hinged Protective Flap | 35 | No | Conventional | TechnoSwitch
102 | XP95 IS Fixed Temperature Heat Detector; Class A2/S (55°C) | 2850 | No | Addressable | TechnoSwitch
103 | XP95 IS Ionisation Smoke Detector | 3050 | No | Gas Suppression | TechnoSwitch
104 | XP95 IS Optical Smoke Detector | 2850 | No | Air Sampling | TechnoSwitch
105 | XP95 IS Mounting Base | 170 | No | Beams | TechnoSwitch
106 | XP95 IS MCP, Red | 3290 | No | Conventional | TechnoSwitch
107 | XP95 IS MCP, Yellow | 3350 | No | Addressable | TechnoSwitch
108 | XP95 IS MCP, Red, MEDC Style | 11350 | No | Gas Suppression | TechnoSwitch
109 | XP95 IS MCP, Red, MEDC Style with Flap | 11550 | No | Air Sampling | TechnoSwitch
110 | XP95 Protocol Translator (Single) | 2970 | No | Beams | TechnoSwitch
111 | XP95 Protocol Translator (Dual) | 3250 | No | Conventional | TechnoSwitch
112 | Sounder Circuit Galvanic Isolator (Barrier Only) | 5000 | No | Addressable | TechnoSwitch
113 | Conventional 2 Zone Galvanic Isolator (Barrier Only) | 8020 | No | Gas Suppression | TechnoSwitch
114 | 7787 Zener Barrier (Barrier Only) | 2620 | No | Air Sampling | TechnoSwitch
115 | Enclosure for DIN Rail Mount Modules | 620 | No | Beams | TechnoSwitch
116 | Discovery Marine Heat Detector Fixed or ROR; Class Selectable (65-100°C) | 925 | No | Conventional | TechnoSwitch
117 | Discovery Marine Ionisation Detector | 1220 | No | Addressable | TechnoSwitch
118 | Discovery Marine Multi-sensor Detector | 1200 | No | Gas Suppression | TechnoSwitch
119 | Discovery Marine Optical Smoke Detector | 1000 | No | Air Sampling | TechnoSwitch
120 | Discovery Marine Detector Base | 100 | No | Beams | TechnoSwitch
121 | Discovery Marine Deckhead Mounting Box | 285 | No | Conventional | TechnoSwitch
122 | Discovery Marine Isolator | 550 | No | Addressable | TechnoSwitch
123 | Discovery Marine Isolator Base | 110 | No | Gas Suppression | TechnoSwitch
124 | Discovery Marine MCP with Isolator | 850 | No | Air Sampling | TechnoSwitch
125 | Discovery Marine Waterproof MCP with Isolator (New Style) | 2410 | No | Beams | TechnoSwitch
126 | Discovery Marine Waterproof MCP with Isolator (KAC Style) | 2620 | No | Conventional | TechnoSwitch
127 | XP95 Open-Area VAD Cat. C - Red Body (White Flash), 15m | 888 | No | Addressable | TechnoSwitch
128 | XP95 Open-Area VAD Cat. C - Red Body (White Flash), 8.5m | 888 | No | Gas Suppression | TechnoSwitch
129 | XP95 Open-Area VAD Cat. C - White Body (White Flash), 15m | 888 | No | Air Sampling | TechnoSwitch
130 | XP95 Open-Area VAD Cat. C - White Body (White Flash), 8.5m | 888 | No | Beams | TechnoSwitch
131 | XP95 Base VAD Cat. O (White Flash) (Isolating) | 888 | No | Conventional | TechnoSwitch
132 | XP95 Open-Area VAD Cat. W - Red Body (White Flash), 6m | 888 | No | Addressable | TechnoSwitch
133 | XP95 Open-Area VAD Cat. W - White Body (White Flash), 6m | 888 | No | Gas Suppression | TechnoSwitch
134 | XP95 Loop-Powered Beacon, Amber (needs base) | 695 | No | Air Sampling | TechnoSwitch
135 | XP95 Loop-Powered Beacon, Red (needs base) | 590 | No | Beams | TechnoSwitch
136 | XP95 Beacon Base with Isolator | 610 | No | Conventional | TechnoSwitch
137 | XP95 Integrated Base Sounder with Isolator | 610 | No | Addressable | TechnoSwitch
138 | XP95 Sounder Beacon Base with Isolator | 655 | No | Gas Suppression | TechnoSwitch
139 | Discovery Sounder Beacon Base | 950 | No | Air Sampling | TechnoSwitch
140 | Red Cap for Base Sounder | 45 | No | Beams | TechnoSwitch
141 | White Cap for Base Sounder | 45 | No | Conventional | TechnoSwitch
142 | XP95 Open-Area Sounder, Red (Sonos) | 720 | No | Addressable | TechnoSwitch
143 | XP95 Open-Area Sounder, White (Sonos) | 720 | No | Gas Suppression | TechnoSwitch
144 | XP95 Open-Area Beacon, Red (Sonos) | 700 | No | Air Sampling | TechnoSwitch
145 | XP95 Open-Area Sounder Beacon, Red (Sonos) | 850 | No | Beams | TechnoSwitch
146 | XP95 Open-Area Sounder Beacon, White (Sonos) | 1100 | No | Conventional | TechnoSwitch
147 | XP95 Multi-Tone Open-Area Sounder, Red | 1000 | No | Addressable | TechnoSwitch
148 | XP95 Multi-Tone Open-Area Sounder Beacon, Red, Isolated | 1565 | No | Gas Suppression | TechnoSwitch
149 | XP95 Multi-Tone Weatherproof Open-Area Sounder, Red | 2010 | No | Air Sampling | TechnoSwitch
150 | XP95 Weatherproof Multi-Tone Open-Area Sounder Beacon, Red | 2400 | No | Beams | TechnoSwitch
151 | Discovery Open-Area Sounder Beacon, Red | 1165 | No | Conventional | TechnoSwitch
152 | Discovery Open-Area Sounder Beacon, White | 1185 | No | Addressable | TechnoSwitch
153 | Discovery Open-Area Voice Sounder, Red | 1860 | No | Gas Suppression | TechnoSwitch
154 | Discovery Open-Area Voice Sounder Beacon, Red | 2155 | No | Air Sampling | TechnoSwitch
155 | Soteria/XP95 Input/Output Unit | 600 | No | Beams | TechnoSwitch
156 | Soteria/XP95 Dual Input/Output Unit | 875 | No | Conventional | TechnoSwitch
157 | Soteria/XP95 Mains Switching Input/Output Unit | 766 | No | Addressable | TechnoSwitch
158 | Soteria/XP95 Switch Monitor | 535 | No | Gas Suppression | TechnoSwitch
159 | Soteria/XP95 Dual Switch Monitor | 769 | No | Air Sampling | TechnoSwitch
160 | XP95 3 Channel I/O Unit | 1410 | No | Beams | TechnoSwitch
161 | XP95 Mini Switch Monitor | 485 | No | Conventional | TechnoSwitch
162 | XP95 Sounder Control Unit with Isolator | 1100 | No | Addressable | TechnoSwitch
163 | XP95 Zone Monitor Unit with Isolator | 900 | No | Gas Suppression | TechnoSwitch
164 | Soteria/XP95 Intelligent DIN Rail Input/Output Unit | 565 | No | Air Sampling | TechnoSwitch
165 | Soteria/XP95 Intelligent DIN Rail Switch Monitor | 600 | No | Beams | TechnoSwitch
166 | XP95 DIN Rail Dual Isolator | 895 | No | Conventional | TechnoSwitch
167 | XP95 DIN Rail Mains Input/Output Unit | 1300 | No | Addressable | TechnoSwitch
168 | XP95 DIN Rail Sounder Control Unit 5A | 1486 | No | Gas Suppression | TechnoSwitch
169 | XP95 DIN Rail Zone Monitor with Isolator | 1100 | No | Air Sampling | TechnoSwitch
170 | Soteria/XP95 3-Channel DIN I/O Unit in Housing, Transparent Lid | 1794 | No | Beams | TechnoSwitch
171 | XPander Optical Smoke Detector c/w Mounting Base | 2555 | No | Conventional | TechnoSwitch
172 | XPander Optical Detector c/w Sounder Base | 4730 | No | Addressable | TechnoSwitch
173 | XPander Optical Detector c/w Sounder Beacon Base, Red | 5120 | No | Gas Suppression | TechnoSwitch
174 | XPander A1R Heat Detector c/w Mounting Base | 2400 | No | Air Sampling | TechnoSwitch
175 | XPander CS Heat Detector c/w Mounting Base | 2460 | No | Beams | TechnoSwitch
176 | XPander ROR Heat Detector c/w Sounder Base; Class A1/R (55°C) | 4785 | No | Conventional | TechnoSwitch
177 | XPander ROR Heat Detector c/w Sounder Beacon Base, Red; Class A1/R (55°C) | 5150 | No | Addressable | TechnoSwitch
178 | XPander Fixed Temp Heat Detector c/w Sounder Base; Class C/S (90°C) | 4750 | No | Gas Suppression | TechnoSwitch
179 | XPander Fixed Temp Heat Detector c/w Sounder Beacon Base, Red; Class C/S (90°C) | 5150 | No | Air Sampling | TechnoSwitch
180 | XPander MCP Red | 2400 | No | Beams | TechnoSwitch
181 | XPander Address Card Red | 18 | No | Conventional | TechnoSwitch
182 | XPander Address Card White | 18 | No | Addressable | TechnoSwitch
183 | XPander Sounder c/w Mounting Base, Red | 4080 | No | Gas Suppression | TechnoSwitch
184 | XPander Sounder c/w Mounting Base, White | 4080 | No | Air Sampling | TechnoSwitch
185 | XPander Sounder Beacon Red c/w Mounting Base, Red | 4702 | No | Beams | TechnoSwitch
186 | XPander Sounder Beacon Amber c/w Mounting Base, White | 4883 | No | Conventional | TechnoSwitch
187 | XPander 868MHz Diversity Interface Module | 4230 | No | Addressable | TechnoSwitch
188 | XPander Single Channel Input/Output Unit | 2835 | No | Gas Suppression | TechnoSwitch
189 | XPander Dual Channel Input/Output Unit | 3462 | No | Air Sampling | TechnoSwitch
190 | XPander Diversity 868MHz Survey Kit | 5920 | No | Beams | TechnoSwitch
191 | ZEOS Conventional Smoke detector - CE Certified | 170.6798 | No | Conventional | ISD
192 | ZEOS Conventional Heat detector ROR - CE Certified | 118.0217 | No | Addressable | ISD
193 | ZEOS Conventional Multisensor Smoke & Heat detector - CE Certified | 184.4823 | No | Gas Suppression | ISD
194 | ZEOS Detector Base | 50.839 | No | Air Sampling | ISD
195 | Conventional Smoke detector - CE Certified | 208.1 | No | Beams | ISD
196 | Conventional Heat detector ROR - CE Certified | 199.95 | No | Conventional | ISD
197 | Base for conventional Detector range - CE Certified | 30.2 | No | Addressable | ISD
198 | Conventional Smoke Detector Sounder Beacon - CE Certified | 320.8596 | No | Gas Suppression | ISD
199 | Base for conventional Sounder range - CE Certified | 33.1338 | No | Air Sampling | ISD
200 | Fighter MP 8 zones conventional fire alarm panel. | 4014.0998 | No | Beams | ISD
201 | Fighter MPR 8 zones and 8 relays conventional fire alarm & extinguishing panel | 5098.6251 | No | Conventional | ISD
202 | Fighter KZPS 8 zones expansion panel with keypad and PSU | 3386.5799 | No | Addressable | ISD
203 | Fighter KRPS 8 relays expansion panel with keypad and PSU | 3935.6612 | No | Gas Suppression | ISD
204 | Fighter KZRPS 8 zones and 8 relays expansion panel with keypad and PSU | 4471.0998 | No | Air Sampling | ISD
205 | Fighter ZRPS 8 zones and 8 relays expansion panel with PSU | 2694.2531 | No | Beams | ISD
206 | Fighter ZPS 8 zones expansion panel with PSU | 1824.5933 | No | Conventional | ISD
207 | Fighter EKZ 8 zones expansion module with keypad | 2001.9318 | No | Addressable | ISD
208 | Fighter EKR 8 relays expansion module with keypad | 2404.3665 | No | Gas Suppression | ISD
209 | Fighter EXZ 8 zones expansion module without keypad | 1398.2853 | No | Air Sampling | ISD
210 | Fighter EXR 8 relays expansion module without keypad | 1790.4838 | No | Beams | ISD
211 | Fighter KSDA LCD remote keypad | 958.3346 | No | Conventional | ISD
212 | Fighter PCB expansion module with 8 relays and metal base | 1040.1852 | No | Addressable | ISD
213 | Fighter FRTCP-IP Communication Module TCP/IP - RS232 | 1035.0699 | No | Gas Suppression | ISD
214 | FighterXT 8 zones, 8 relays fire alarm & extinguishing panel with auto/manual switch | 5551.4028 | No | Air Sampling | ISD
215 | Fighter KSDA LCD remote keypad | 958.3346 | No | Beams | ISD
216 | FRTCP-IP Communication Module TCP/IP - RS232 | 1035.0699 | No | Conventional | ISD
217 | Sequential Activator | 818.5066 | No | Addressable | ISD
218 | Auto/Manual Switch | 682.0907 | No | Gas Suppression | ISD
219 | Auto/Manual Switch (Switch & PCB only) | 274.491 | No | Air Sampling | ISD
220 | Panel Extinguishing Activation Button (Button only) | 236.975 | No | Beams | ISD
221 | Extinguishant Released Illuminating Sign | 682.0907 | No | Conventional | ISD
222 | SmartView Software (0 to 10 Panels) | 0 | No | Addressable | ISD
223 | SmartView Software (11 to 50 Panels) | 3157.8236 | No | Gas Suppression | ISD
224 | SmartView Software (>50 Panels) | 9473.4709 | No | Air Sampling | ISD
225 | Fighter LCD keypad (complete with frame) | 1251.6332 | No | Beams | ISD
226 | Mainboard for fighter MP panel | 1659.1832 | No | Conventional | ISD
227 | Fighter EXP Z8 PCB expansion module with 8 zone inputs | 472.3459 | No | Addressable | ISD
228 | Fighter EXP R8 PCB expansion module with 8 relays | 873.0774 | No | Gas Suppression | ISD
229 | Fighter FPS-5 Switching stabilized power supply | 434.8299 | No | Air Sampling | ISD
230 | ORION 1 Zone Mini Conventional Panel 0.5 Amp PSU | 1350.5992 | No | Beams | ISD
231 | ORION 2 Zone Mini Conventional Panel 0.5 Amp PSU | 1523.0209 | No | Conventional | ISD
232 | ORION 2 Zone Conventional Panel 1.7 Amp PSU | 1727.1707 | No | Addressable | ISD
233 | ORION 4 Zone Conventional Panel 1.7 Amp PSU | 1896.274 | No | Gas Suppression | ISD
234 | ORION 8 Zone Conventional Panel 1.7 Amp PSU | 2065.3772 | No | Air Sampling | ISD
235 | ORION Plus 8 Zone Conventional Panel 1.7 Amp PSU | 2175.7425 | No | Beams | ISD
236 | ORION Plus 12 Zone Conventional Panel 1.7 Amp PSU | 2668.3623 | No | Conventional | ISD
237 | ORION Plus 16 Zone Conventional Panel 1.7 Amp PSU | 3160.9821 | No | Addressable | ISD
238 | ORION Plus 20 Zone Conventional Panel 2.4 Amp PSU | 6609.3262 | No | Gas Suppression | ISD
239 | ORION Plus 24 Zone Conventional Panel 2.4 Amp PSU | 7594.5658 | No | Air Sampling | ISD
240 | ORION Plus 28 Zone Conventional Panel 2.4 Amp PSU | 8087.1912 | No | Beams | ISD
241 | ORION Plus 32 Zone Conventional Panel 2.4 Amp PSU | 8579.811 | No | Conventional | ISD
242 | ORION Mini Repeater 0.5 Amp PSU | 1721.0136 | No | Addressable | ISD
243 | ORION Plus Repeater 0.5 Amp PSU | 2415.7382 | No | Gas Suppression | ISD
244 | ORION 3 Zone Conventional Extinguishing Panel 1.7 Amp PSU | 2251.9983 | No | Air Sampling | ISD
245 | ORION EX Mini Repeater 0.5 Amp PSU | 1721.0136 | No | Beams | ISD
246 | ORION MINI 1 Zone Motherboard | 568.407 | No | Conventional | ISD
247 | ORION MINI 2 Zone Motherboard | 631.5658 | No | Addressable | ISD
248 | ORION 2 Zone Motherboard | 757.8779 | No | Gas Suppression | ISD
249 | ORION 4 Zone Motherboard | 915.7693 | No | Air Sampling | ISD
250 | ORION 8 Zone Motherboard | 1073.6608 | No | Beams | ISD
251 | ORION EX Motherboard | 1263.1317 | No | Conventional | ISD
252 | ORION PLUS 8-16 Zones Motherboard | 1547.3352 | No | Addressable | ISD
253 | ORION PLUS 20-32 Zones Motherboard | 2842.0407 | No | Gas Suppression | ISD
254 | ORION RS232 Interface for Repeater | 473.6744 | No | Air Sampling | ISD
255 | ORION 4 Zone Relay Card | 315.7829 | No | Beams | ISD
256 | ORION 8 Zone Relay Card | 473.6744 | No | Conventional | ISD
257 | Orion Multiplexed 4 Zone Sounder Circuit Board | 473.6744 | No | Addressable | ISD
258 | Orion Multiplexed 8 Zone Sounder Circuit Board | 789.4573 | No | Gas Suppression | ISD
259 | ORION Loop Interface | 599.9864 | No | Air Sampling | ISD
260 | ORION Redundant Fibre Optic Loop Interface | 3947.2809 | No | Beams | ISD
261 | ORION Plus 4 ZONE Expansion Module | 631.5658 | No | Conventional | ISD
262 | Conventional Call Point Red Resettable IP24 | 167.3669 | No | Addressable | ISD
263 | Conventional Call Point Green Resettable IP24 | 200.837 | No | Gas Suppression | ISD
264 | Conventional Call Point Blue Resettable IP24 | 200.837 | No | Air Sampling | ISD
265 | Conventional Call Point White Resettable IP24 | 200.837 | No | Beams | ISD
266 | Conventional Call Point Yellow Resettable IP24 | 200.837 | No | Conventional | ISD
267 | Conventional Call Point Weatherproof Red Resettable IP67 | 1263.1317 | No | Addressable | ISD
268 | VALKYRIE CS Conventional Sounder IP21 | 252.6241 | No | Gas Suppression | ISD
269 | VALKYRIE CB Conventional Beacon IP21 | 252.6241 | No | Air Sampling | ISD
270 | VALKYRIE CSB Conventional Sounder Beacon IP21 | 410.5156 | No | Beams | ISD
271 | VALKYRIE CS Weatherproof Conventional Sounder IP65 | 378.9362 | No | Conventional | ISD
272 | VALKYRIE CB Weatherproof Conventional Beacon IP65 | 347.3623 | No | Addressable | ISD
273 | VALKYRIE CSB Weatherproof Conventional Sounder Beacon IP65 | 536.8276 | No | Gas Suppression | ISD
274 | Alarm Horn Sounder Red Housing/ 112 dB/ 10-30V DC/ (Optional: White and Grey Housing ) | 0 | No | Air Sampling | ISD
275 | Alarm Horn Sounder Red Housing/ 119 dB/ 10-30V DC/ (Optional: White and Grey Housing )/ MARITIME VERSION AVAILABLE | 0 | No | Beams | ISD
276 | Alarm Horn Sounder Red Housing/ 126 dB/ 10-30V DC/ (Optional: White and Grey Housing ) | 0 | No | Conventional | ISD
277 | Sounder Beacon, Red Housing, Multi Tone / 106 dB/ 17-60V DC | 0 | No | Addressable | ISD
278 | Sounder, Red Housing, Multi Tone / 106 dB/ 17-60V DC | 0 | No | Gas Suppression | ISD
279 | Fire Bell 6" 24VDC Indoor | 518.0862 | No | Air Sampling | ISD
280 | Conventional P.A. Speaker Amplifier IP44 | 947.3487 | No | Beams | ISD
281 | VALKYRIE Conventional Voice Sounder IP21 | 1199.9729 | No | Conventional | ISD
282 | VALKYRIE Conventional Voice Sounder Beacon IP21 | 1421.0231 | No | Addressable | ISD
283 | VALKYRIE Conventional Weatherproof Voice Sounder IP65 | 1515.7558 | No | Gas Suppression | ISD
284 | VALKYRIE Conventional Weatherproof Voice Sounder Beacon IP65 | 1673.6472 | No | Air Sampling | ISD
285 | VULCAN Conventional Voice Sounder IP21 | 1263.1317 | No | Beams | ISD
286 | VULCAN Conventional Voice Sounder Beacon IP21 | 1421.0231 | No | Conventional | ISD
287 | Addressable Multisensor - EN54 Certified | 271.5034 | No | Addressable | ISD
288 | Base for addressable Detector range - EN54 Certified | 30.9014 | No | Gas Suppression | ISD
289 | Addressable Multisensor Sounder Beacon - EN54 Certified | 478.8117 | No | Air Sampling | ISD
290 | Addressable Multisensor with CO & Pre-Alarm function | 677.7581 | No | Beams | ISD
291 | Addressable Multisensor Sounder Beacon with CO & Pre-Alarm function | 854.2863 | No | Conventional | ISD
292 | Addressable Multisensor - EN54 Certified BLACK | 361.3412 | No | Addressable | ISD
293 | Base for addressable Detector range - EN54 Certified BLACK | 44.3953 | No | Gas Suppression | ISD
294 | Addressable Multisensor Sounder Beacon - EN54 Certified BLACK | 573.9413 | No | Air Sampling | ISD
295 | G-One Addressable 1 Loop Panel. Not expandable, networkable, 2.4 Amp PSU | 6205.1276 | No | Beams | ISD
296 | GEKKO Addressable Panel 0 Loop 2.4 Amp PSU | 5468.3008 | No | Conventional | ISD
297 | GEKKO Addressable Panel 1 Loop 2.4 Amp PSU | 7222.6467 | No | Addressable | ISD
298 | GEKKO Addressable Panel 2 Loop 2.4 Amp PSU | 8976.9925 | No | Gas Suppression | ISD
299 | GEKKO Addressable Panel 3 Loop 2.4 Amp PSU | 10731.3384 | No | Air Sampling | ISD
300 | GEKKO Addressable Panel 4 Loop 2.4 Amp PSU | 12485.6897 | No | Beams | ISD
301 | GEKKO Mini Repeater for Networks | 4591.1279 | No | Conventional | ISD
302 | GEKKO Single use Repeater | 4298.7333 | No | Addressable | ISD
303 | OCTO+ Addressable Panel 0 Loop 2.4 Amp PSU | 10731.3384 | No | Gas Suppression | ISD
304 | OCTO+ Addressable Panel 1 Loop 2.4 Amp PSU | 12485.6897 | No | Air Sampling | ISD
305 | OCTO+ Addressable Panel 2 Loop 2.4 Amp PSU | 14240.0356 | No | Beams | ISD
306 | OCTO+ Addressable Panel 3 Loop 2.4 Amp PSU | 15994.3814 | No | Conventional | ISD
307 | OCTO+ Addressable Panel 4 Loop 2.4 Amp PSU | 17748.7273 | No | Addressable | ISD
308 | OCTO+ Addressable Panel 4 Loop 5 Amp PSU Large Box | 20526.4902 | No | Gas Suppression | ISD
309 | OCTO+ Addressable Panel 5 Loop 5 Amp PSU Large Box | 26374.1517 | No | Air Sampling | ISD
310 | OCTO+ Addressable Panel 6 Loop 5 Amp PSU Large Box | 30970.6816 | No | Beams | ISD
311 | OCTO+ Addressable Panel 7 Loop 5 Amp PSU Large Box | 29882.8103 | No | Conventional | ISD
312 | OCTO+ Addressable Panel 8 Loop 5 Amp PSU Large Box | 31637.2939 | No | Addressable | ISD
313 | OCTO+ Addressable Panel 9 Loop 7.5 Amp PSU Large Box | 38800.8223 | No | Gas Suppression | ISD
314 | OCTO+ Addressable Panel 10 Loop 7.5 Amp PSU Large Box | 40555.3059 | No | Air Sampling | ISD
315 | OCTO+ Addressable Panel 11 Loop 7.5 Amp PSU Large Box | 42309.4809 | No | Beams | ISD
316 | OCTO+ Addressable Panel 12 Loop 7.5 Amp PSU Large Box | 44063.9701 | No | Conventional | ISD
317 | NODE PLUS - 0 LOOP | 5468.3008 | No | Addressable | ISD
318 | NODE PLUS - 1 LOOP | 7222.6467 | No | Gas Suppression | ISD
319 | NODE PLUS - 2 LOOP | 8976.9925 | No | Air Sampling | ISD
320 | NODE PLUS - 3 LOOP | 10731.3384 | No | Beams | ISD
321 | NODE PLUS - 4 LOOP | 12485.6897 | No | Conventional | ISD
322 | 1 Loop Card GEKKO and OCTO+ | 1894.692 | No | Addressable | ISD
323 | 2 Loop Card GEKKO and OCTO+ | 3789.3895 | No | Gas Suppression | ISD
324 | 3 Loop Card GEKKO and OCTO+ | 5684.0814 | No | Air Sampling | ISD
325 | 4 Loop Card GEKKO and OCTO+ | 7578.7789 | No | Beams | ISD
326 | SUB-PANEL BOARD | 4420.9553 | No | Conventional | ISD
327 | OCTO + DISPLAY | 3157.8236 | No | Addressable | ISD
328 | GEKKO MOTHERBOARD | 4420.9553 | No | Gas Suppression | ISD
329 | GEKKO REPEATER MOTHERBOARD | 3157.8236 | No | Air Sampling | ISD
330 | 128 Zone LED Board for Large OTCO+ Panel | 1421.0231 | No | Beams | ISD
331 | Power Supply 0.5 Amp - BOARD ONLY | 315.7829 | No | Conventional | ISD
332 | Power Supply 1.7 Amp - BOARD ONLY | 473.6744 | No | Addressable | ISD
333 | Power Supply 2.4 Amp With Chassis | 947.3487 | No | Gas Suppression | ISD
334 | Power Supply 5 Amp With Chassis | 2368.3663 | No | Air Sampling | ISD
335 | Power Supply 7.5 Amp With Chassis | 3789.3895 | No | Beams | ISD
336 | Battery Charger Module With Chassis | 1263.1317 | No | Conventional | ISD
337 | Battery Charger Module (for products GFE-BCM-5 and GFE-BCM-10-B) | 789.4573 | No | Addressable | ISD
338 | Boxed Power Supply 28Vdc 1.7Amp | 1626.2809 | No | Gas Suppression | ISD
339 | Boxed Power Supply 28Vdc 2.4Amp | 1784.1724 | No | Air Sampling | ISD
340 | Boxed Power Supply 28Vdc 1.7Amp Including I/O | 1942.0638 | No | Beams | ISD
341 | Boxed Power Supply 28Vdc 2.4Amp Including I/O | 2099.9553 | No | Conventional | ISD
342 | Boxed Power Supply 28Vdc 1A | 2099.9553 | No | Addressable | ISD
343 | Boxed Power Supply 28Vdc 1A I/O and LSC Included | 2415.7382 | No | Gas Suppression | ISD
344 | Boxed Power Supply 5Amp Battery Charger Module With I/O | 4499.901 | No | Air Sampling | ISD
345 | Boxed Power Supply 10Amp Battery Charger Module With I/O | 6015.6568 | No | Beams | ISD
346 | Battery Sealed Lead Acid 12V 7.2Ahr 151 x 65 x 93.5mm | 194.298 | No | Conventional | ISD
347 | Battery Sealed Lead Acid 12V 12Ahr 151 x 98 x 95mm | 328.6 | No | Addressable | ISD
348 | Battery Lead Acid 12V 1.4Ahr 97x43x51 | 99.1418 | No | Gas Suppression | ISD
349 | Box Plastic for Mini-Mini Panels | 378.9362 | No | Air Sampling | ISD
350 | Box Plastic for Orion Panels (8 to 16 Zones) | 521.0407 | No | Beams | ISD
351 | ABS PLASTIC - FOR GEKKO PANELS | 631.5658 | No | Conventional | ISD
352 | Deep Back Box for GEKKO (for 12Ahr Battery) | 315.7829 | No | Addressable | ISD
353 | ALUMINUM - FOR OCTO + PANELS & NODE | 1894.692 | No | Gas Suppression | ISD
354 | ODYSSEY Interface Card | 1736.806 | No | Air Sampling | ISD
355 | ODYSSEY Graphical User Interface software. Licence for One Panel/Network | 12631.3 | No | Beams | ISD
356 | ODYSSEY Graphical User Interface software. Licence for one to five Panels/Networks | 15789.1236 | No | Conventional | ISD
357 | ODYSSEY Graphical User Interface software. Licence for Unlimited Panels/Networks | 31578.2473 | No | Addressable | ISD
358 | ARITON GSM communication module | 2999.9322 | No | Gas Suppression | ISD
359 | RS422 Double Network Card for Chameleon Loop | 1578.9146 | No | Air Sampling | ISD
360 | RS422 Single Card for Chameleon Repeater | 947.3487 | No | Beams | ISD
361 | Fibre Optic Double Network Card Multi Mode for Chameleon Loop | 3947.2809 | No | Conventional | ISD
362 | Fibre Optic Single Card for Chameleon Repeater | 2684.1493 | No | Addressable | ISD
363 | INT-TCP/IP / MODBUS Interface | 6157.7558 | No | Gas Suppression | ISD
364 | RS232 MODBUS Interface Board | 1263.1317 | No | Air Sampling | ISD
365 | RS485 INTERFACE BOARD | 1263.1317 | No | Beams | ISD
366 | TCP/IP & Wi-Fi Interface Card for GFE-WEB remote access | 1597.86 | No | Conventional | ISD
367 | Panel Printer for OCTO+ Panel | 3473.6065 | No | Addressable | ISD
368 | Mixed RS422 and Fibre Optic Interface | 2999.9322 | No | Gas Suppression | ISD
369 | Conventional Minidisc Remote Indicator | 101.3694 | No | Air Sampling | ISD
370 | Addressable Remote Indicator | 204.6735 | No | Beams | ISD
371 | UG-4 HOUSING FOR DUCT INSTALLATION | 1484.1764 | No | Conventional | ISD
372 | 0,6m VENTURI PIPE FOR UG-4 | 347.3623 | No | Addressable | ISD
373 | VR-1.5M:VENTURI PIPE 1,5m + HALV TET UG 3&4 Calectro | 751.5609 | No | Gas Suppression | ISD
374 | Addressable Manually Addressed Module: SMOKE or HEAT DETECTOR | 213.1733 | No | Air Sampling | ISD
375 | Addressable Manually Addressed Module: Call point or INPUT | 213.1733 | No | Beams | ISD
376 | Addressable Manually Addressed Module: LSC or OUTPUT | 213.1733 | No | Conventional | ISD
377 | Manually Addressed Module: EMERGENCY LIGHT (Ni-Cad) | 134.3103 | No | Addressable | ISD
378 | Manually Addressed Module: EMERGENCY LIGHT | 134.3103 | No | Gas Suppression | ISD
379 | Manually Addressed Module Kit for FireBeam (Incudes MAM & EOL Resistors) | 285.5044 | No | Air Sampling | ISD
380 | Addressable Single I/O Module with Isolator & Dual Gang Box | 497.0626 | No | Beams | ISD
381 | Addressable Dual I/O Module with Isolator & Dual Gang Box | 672.4994 | No | Conventional | ISD
382 | Addressable Triple I/O Module with Isolator & Dual Gang Box | 847.9362 | No | Addressable | ISD
383 | Addressable Stand Alone Loop Isolator | 292.3891 | No | Gas Suppression | ISD
384 | Addressable INPUT / OUTPUT Module | 387.4195 | No | Air Sampling | ISD
385 | Addressable Mains Switching INPUT / OUTPUT Module | 736.0937 | No | Beams | ISD
386 | Addressable INPUT MODULE | 328.9405 | No | Conventional | ISD
387 | Addressable Opto Isolated Loop Sounder Controller | 511.6865 | No | Addressable | ISD
388 | Addressable Zone Monitoring Unit | 599.4021 | No | Gas Suppression | ISD
389 | Addressable 1 Conventional Zone Monitoring Unit | 730.9784 | No | Air Sampling | ISD
390 | Addressable 2 Conventional Zones Monitoring Unit | 1023.3675 | No | Beams | ISD
391 | Addressable 3 Conventional Zones Monitoring Unit | 1315.7621 | No | Conventional | ISD
392 | Addressable 4 Conventional Zones Monitoring Unit | 1608.1513 | No | Addressable | ISD
393 | Addressable 4 Input | 774.8389 | No | Gas Suppression | ISD
394 | Addressable 8 Input | 1608.1513 | No | Air Sampling | ISD
395 | Addressable Conventional Control Panel Interface Up To 8 Zones | 1754.3458 | No | Beams | ISD
396 | Addressable Sprinkler Switch Module | 576.3005 | No | Conventional | ISD
397 | Dual Gang Box for Multiple Modules | 157.8915 | No | Addressable | ISD
398 | Round Junction Box (100 X 38) | 39.4729 | No | Gas Suppression | ISD
399 | Mimic Zone Module for Chameleon Panels | 1608.2781 | No | Air Sampling | ISD
400 | IP55 Back Box for Dual Gang Modules | 83.7524 | No | Beams | ISD
401 | Electronic Key Switch | 69.7734 | No | Conventional | ISD
402 | Addressable Call Point Red Resettable IP24 | 380.1103 | No | Addressable | ISD
403 | Addressable Call Point Resettable IP24 GREEN | 492.6198 | No | Gas Suppression | ISD
404 | Addressable Call Point Red Resettable IP24 with Loop Isolator | 467.8259 | No | Air Sampling | ISD
405 | Addressable Call Point Weatherproof Red Resettable IP67 With Isolator | 1608.1513 | No | Beams | ISD
406 | Low Profile Adapter for GFE-MCPE (requires an Electrical Junction back box) | 29.9974 | No | Conventional | ISD
407 | Hinged Flap for GFE-MCPE | 29.9974 | No | Addressable | ISD
408 | Reset keys for GFE-MCPE | 23.6859 | No | Gas Suppression | ISD
409 | Addressable VALKYRIE AS Sounder IP21 (RED) | 438.5892 | No | Air Sampling | ISD
410 | Addressable VALKYRIE AB Beacon IP21 (RED) | 438.5892 | No | Beams | ISD
411 | Addressable VALKYRIE ASB Sounder Beacon IP21 (RED) | 584.7838 | No | Conventional | ISD
412 | Addressable VALKYRIE ASI Sounder IP21 with Isolator (RED) | 526.3049 | No | Addressable | ISD
413 | Addressable VALKYRIE ABI Beacon IP21 with Isolator (RED) | 526.3049 | No | Gas Suppression | ISD
414 | Addressable VALKYRIE ASBI Sounder Beacon IP21 with Isolator (RED) | 672.4994 | No | Air Sampling | ISD
415 | Addressable Weatherproof VALKYRIE ASI Sounder with Isolator IP65 (RED) | 760.2151 | No | Beams | ISD
416 | Addressable Weatherproof VALKYRIE ABI Beacon with Isolator IP65 (RED) | 760.2151 | No | Conventional | ISD
417 | Addressable Vulcan AS Sounder IP21 (RED) | 409.347 | No | Addressable | ISD
418 | Addressable Vulcan AB Beacon IP21 (RED) | 409.347 | No | Gas Suppression | ISD
419 | Addressable Vulcan ASB Sounder Beacon IP21 (RED) | 555.5416 | No | Air Sampling | ISD
420 | Addressable Weatherproof VALKYRIE ASBI Sounder Beacon with Isolator IP65 (RED) | 906.4151 | No | Beams | ISD
421 | Addressable VALKYRIE AS Sounder IP21 (WHITE) | 438.5892 | No | Conventional | ISD
422 | Addressable VALKYRIE AB Beacon IP21 (WHITE) | 438.5892 | No | Addressable | ISD
423 | Addressable VALKYRIE ASB Sounder Beacon IP21 (WHITE) | 584.7838 | No | Gas Suppression | ISD
424 | Addressable VALKYRIE ASI Sounder IP21 with Isolator (WHITE) | 526.3049 | No | Air Sampling | ISD
425 | Addressable VALKYRIE ABI Beacon IP21 with Isolator (WHITE) | 526.3049 | No | Beams | ISD
426 | Addressable VALKYRIE ASBI Sounder Beacon IP21 with Isolator (WHITE) | 672.4994 | No | Conventional | ISD
427 | Addressable Vulcan AS Sounder IP21 (WHITE) | 409.347 | No | Addressable | ISD
428 | Addressable Vulcan AB Beacon IP21 (WHITE) | 409.347 | No | Gas Suppression | ISD
429 | Addressable Vulcan ASB Sounder Beacon IP21 (WHITE) | 555.5416 | No | Air Sampling | ISD
430 | Addressable P.A. Speaker Amplifier Dual Gang Box | 1023.3675 | No | Beams | ISD
431 | 30W EN54 PA Horn Speaker | 1178.1831 | No | Conventional | ISD
432 | VALKYRIE Addressable Voice Sounder IP21 (RED) | 1315.7621 | No | Addressable | ISD
433 | VALKYRIE Addressable Voice Sounder Beacon IP21 (RED) | 1461.9567 | No | Gas Suppression | ISD
434 | VALKYRIE Addressable Weatherproof Voice Sounder IP65 (RED) | 1549.6723 | No | Air Sampling | ISD
435 | VALKYRIE Addressable Weatherproof Voice Sounder Beacon IP65 (RED) | 1695.8669 | No | Beams | ISD
436 | VULCAN Addressable Voice Sounder IP21 (RED) | 1315.7621 | No | Conventional | ISD
437 | VULCAN Addressable Voice Sounder Beacon IP21 (RED) | 1461.9567 | No | Addressable | ISD
438 | VALKYRIE Addressable Voice Sounder IP21 (WHITE) | 1315.7621 | No | Gas Suppression | ISD
439 | VALKYRIE Addressable Voice Sounder Beacon IP21 (WHITE) | 1461.9567 | No | Air Sampling | ISD
440 | VULCAN Addressable Voice Sounder IP21 (WHITE) | 1315.7621 | No | Beams | ISD
441 | VULCAN Addressable Voice Sounder Beacon IP21 (WHITE) | 1461.9567 | No | Conventional | ISD
442 | Conventional Magnetic Door Holder (400N) | 533.6747 | No | Addressable | ISD
443 | Addressable Magnetic Door Holder (200N) - ULTRA LOW POWER | 1739.7275 | No | Gas Suppression | ISD
444 | Wall Mounting Bracket 150mm for Magnetic Holder (Minimum Order Quantity - 10 units) | 596.8279 | No | Air Sampling | ISD
445 | Wall Mounting Bracket 300mm for Magnetic Holder (Minimum Order Quantity - 10 units) | 678.9322 | No | Beams | ISD
446 | Floor Mounting Bracket for Magnetic Holder (Minimum Order Quantity - 10 units) | 394.7286 | No | Conventional | ISD
447 | Emergency Door Release Call Point - Monitored | 355.8621 | No | Addressable | ISD
448 | Single Dry Contact Switch Green (Call Point Type) | 251.4886 | No | Gas Suppression | ISD
449 | IP65 Panel Enclosure Orange with Glass Door 500x400x200 | 2927.4192 | No | Air Sampling | ISD
450 |  |  | No | Beams | ISD
451 | Water Leak Detection Panel 2 Zone 1.7 Amp PSU | 1522.0728 | No | Conventional | ISD
452 | Water Leak Detection Panel 4 Zone 1.7 Amp PSU | 1691.0162 | No | Addressable | ISD
453 | Water Leak Detection Panel 8 Zone 1.7 Amp PSU | 1860.2738 | No | Gas Suppression | ISD
454 | Water Leak Detection Mini Repeater 1 Zone 0.5 Amp PSU | 1108.3987 | No | Air Sampling | ISD
455 | Water Leak Detection Mini Repeater 2 Zone 0.5 Amp PSU | 1280.8148 | No | Beams | ISD
456 | Water Leak Detection Mini Repeater (Includes Chameleon-485-DTLOOP Interface) | 1515.7558 | No | Conventional | ISD
457 | Signaline WDM-KM Signaline WD Monitor c/w EOL Plug | 5701.7701 | No | Addressable | ISD
458 | Signaline WD-3.75 Water Leak Detection Cable 3.75m | 1856.8011 | No | Gas Suppression | ISD
459 | Signaline WD-7.5 Water Leak Detection Cable 7.5m | 2748.5703 | No | Air Sampling | ISD
460 | Signaline WD-15 Water Leak Detection Cable 15m | 4166.435 | No | Beams | ISD
461 | Signaline WD-30 Water Leak Detection Cable 30m | 6944.3743 | No | Conventional | ISD
462 | Signaline WD-100 Water Leak Detection Cable 100m | 18011.2844 | No | Addressable | ISD
463 | Exidus Illuminating Exit Sign - Down | 948.2803 | No | Gas Suppression | ISD
464 | Exidus Illuminating Exit Sign - Left | 948.2803 | No | Air Sampling | ISD
465 | Exidus Illuminating Exit Sign - Right | 948.2803 | No | Beams | ISD
466 | Elix Self Testing Smart Luminaire - White | 818.1869 | No | Conventional | ISD
467 | Elix Self Testing Smart Luminaire - Silver | 818.1869 | No | Addressable | ISD
468 | Arco Self Testing Smart Luminaire - White | 915.7638 | No | Gas Suppression | ISD
469 | Arco Self Testing Smart Luminaire - Silver | 915.7638 | No | Air Sampling | ISD
470 | UV Flame Detector | 19205.2545 | No | Beams | ISD
471 | UV/IR Flame Detector | 21164.373 | No | Conventional | ISD
472 | IR3 Flame Detector | 25045.4965 | No | Addressable | ISD
473 | Mounting Bracket | 1513.8596 | No | Gas Suppression | ISD
474 | Test lamp | 20181.8454 | No | Air Sampling | ISD
475 | Carbon Monoxide Detector Relay Output 12V or 24V (Base Incl) *Please specify if 12v or 24v | 726.2985 | No | Beams | ISD
476 | Natural Gas Detector Relay Output 12V or 24V (Base Incl) *Please specify if 12v or 24v | 694.7191 | No | Conventional | ISD
477 | Propane Gas Detector Relay Output 12V or 24V (Base Incl) *Please specify if 12v or 24v | 694.7191 | No | Addressable | ISD
478 | Firebeam incl. controller + 1 reflector - covers distance of 7 - 70 meters | 6749.8488 | No | Gas Suppression | ISD
479 | Range extension kit 70 - 140 meters | 1282.474 | No | Air Sampling | ISD
480 | Range extension kit 140 - 160 meters | 3415.4253 | No | Beams | ISD
481 | Adjustable wall bracket for Firebeam or single reflector | 1833.2585 | No | Conventional | ISD
482 | Head interface adapter to mount to unistrut | 804.5828 | No | Addressable | ISD
483 | Replacement controller | 2038.4557 | No | Gas Suppression | ISD
484 | Single reflector | 484.6381 | No | Air Sampling | ISD
485 | Anti-fog window for head and single anti-fog reflector | 1498.464 | No | Beams | ISD
486 | Single anti-fog reflector | 674.9854 | No | Conventional | ISD
487 | Anti-fog window | 1020.5783 | No | Addressable | ISD
488 | Anti-fog Firebeam Xtra | 9557.7855 | No | Gas Suppression | ISD
489 | Anti-fog range extension kit 70 – 140 metres | 2672.943 | No | Air Sampling | ISD
490 | Anti-fog range extension kit 140 – 160 metres | 5642.8722 | No | Beams | ISD
491 | Short range mask for up to 20 metres | 221.3975 | No | Conventional | ISD
492 | Intrinsic Conventional Optical Detector ORBIS | 2636.7829 | No | Addressable | ISD
493 | Intrinsic Conventional 57 Degree Thermo-Annealing Detector ORBIS | 2226.2673 | No | Gas Suppression | ISD
494 | Intrinsic Conventional 100 Degree Thermal Detector ORBIS | 2477.9434 | No | Air Sampling | ISD
495 | Intrinsic Conventional Multicriteria Detector ORBIS | 3338.1387 | No | Beams | ISD
496 | Intrinsic Common Base ORBIS | 363.1492 | No | Conventional | ISD
497 | Intrinsically Safe Sounder - Red Housing/ IP65 | 3369.3984 | No | Addressable | ISD
498 | Intrinsically Safe Beacon - Red Housing/ X=Beacon Color (Amber; Blue; Clear; Green/ IP65 | 3993.6991 | No | Gas Suppression | ISD
499 | Intrinsically Safe Sounder Beacon - Red Housing/ X=Beacon Color (Amber; Blue; Clear; Green/ IP65 | 6362.6994 | No | Air Sampling | ISD
500 | Addressable 1 Conventional Zone Monitoring Unit | 789.4573 | No | Beams | ISD
501 | Two Channel Galvanic Isolator for Detector | 9315.5849 | No | Conventional | ISD
502 | SIGNALINE SKM-03 Signaline HD Controller Vds Approved | 20428.6432 | No | Addressable | ISD
503 | SIGNALINE SKM-03UK Signaline HD Controller Non-Vds Approved c/w EOL | 17598.5308 | No | Gas Suppression | ISD
504 | SIGNALINE SKM-95 Signaline HD GFE Addressable Controller | 23438.1335 | No | Air Sampling | ISD
505 | SIGNALINE APDL Alarm Point Distance Locator | 22023.0746 | No | Beams | ISD
506 | SIGNALINE LocatorPlus alarm location and interface module | 11459.9685 | No | Conventional | ISD
507 | SIGNALINE Universal Connector Box | 1215.7543 | No | Addressable | ISD
508 | SIGNALINE Ex Universal Connector Box | 5779.8118 | No | Gas Suppression | ISD
509 | SIGNALINE HD Analogue Heat Sensing Cable (Min 50m) | 97.6596 | No | Air Sampling | ISD
510 | SIGNALINE HD-R Analogue Heat Sensing Cable Resistant Nylon Coated (Min 50m) | 146.6852 | No | Beams | ISD
511 | SIGNALINE HD-S Analogue Heat Sensing Cable Stainless Steel Braided (Min 50m) | 210.0644 | No | Conventional | ISD
512 | SIGNALINE FT-68 Fixed Temp. 68°C Heat Sensing Cable (Min 50m) | 97.6596 | No | Addressable | ISD
513 | SIGNALINE FT-68-R Fixed Temp. 68°C Heat Sensing Cable Resistant Nylon Coated (Min 50m) | 110.4149 | No | Gas Suppression | ISD
514 | SIGNALINE FT-88 Fixed Temp. 88°C Heat Sensing Cable (Min 50m) | 97.6596 | No | Air Sampling | ISD
515 | SIGNALINE FT-105 Fixed Temp. 105°C Heat Sensing Cable (Min 50m) | 97.6596 | No | Beams | ISD
516 | SIGNALINE FT-105-R Fixed Temp. 105°C Heat Sensing Cable Resistant Nylon Coated (Min 50m) | 110.4149 | No | Conventional | ISD
517 | SIGNALINE FT-185-R Fixed Temp. 185°C Heat Sensing Cable Resistant Nylon Coated (Min 50m) | 167.4165 | No | Addressable | ISD
518 | A Clip including Cable Tie (packs of 100 units) | 1793.736 | No | Gas Suppression | ISD
519 | K Clip (packs of 100 units) | 1594.4314 | No | Air Sampling | ISD
520 | D980060 P Clip 316 Stainless Steel M6 (packs of 100 units) | 3117.1105 | No | Beams | ISD
521 | T Clip (packs of 100 units) | 2012.9672 | No | Conventional | ISD
522 | J Clip including Neoprene Sleeve and Cable Tie (packs of 100 units) | 5879.4613 | No | Addressable | ISD
523 | Edge Clip 3-8mm c/w Neoprene Sleeve and Cable Tie (packs of 100 units) | 5879.4613 | No | Gas Suppression | ISD
524 | Edge Clip 8-14mm c/w Neoprene Sleeve and Cable Tie (packs of 100 units) | 6377.7201 | No | Air Sampling | ISD
525 | ASD 531: Aspirating Smoke Detector, 1 sampling pipe (including SSD 31) | 0 | No | Beams | ISD
526 | ASD 532: Aspirating Smoke Detector, 1 sampling pipe (w/o smoke sensor) | 0 | No | Conventional | ISD
527 | ASD 535-1: Aspirating Smoke Detector, 1 sampling pipe, standard display | 0 | No | Addressable | ISD
528 | ASD 535-2: Aspirating Smoke Detector, 2 sampling pipe, standard display | 0 | No | Gas Suppression | ISD
529 | ASD 535-3: Aspirating Smoke Detector, 1 sampling pipe, advanced display | 0 | No | Air Sampling | ISD
530 | ASD 535-4: Aspirating Smoke Detector, 2 sampling pipe, advanced display | 0 | No | Beams | ISD
531 | SSD 31: Smoke sensor for ASD 531, 0.02 - 10%/m (main alarm threshold) | 0 | No | Conventional | ISD
532 | SSD 532-3: Smoke sensor for ASD 532, 0.02 - 10%/m (main alarm threshold) | 0 | No | Addressable | ISD
533 | SSD 535-3: Smoke Sensing Device for ASD 535, 0.02% Obs./m (main alrm thresh.) | 0 | No | Gas Suppression | ISD
534 | ADB 01A: Automatic blow out device, Ø 25 mm, for one sampling pipe | 0 | No | Air Sampling | ISD
535 | ADB 02: Automatic blow out device, Ø 25 mm, for two sampling pipes | 0 | No | Beams | ISD
536 | TU 25 PVC: Tube, Ø 25 mm, length 4 m, PVC | 0 | No | Conventional | ISD
537 | FH 25 PVC: Flexible hose grey, Ø 25 mm, PVC (orders in lengths per meter) | 0 | No | Addressable | ISD
538 | BE 25 PVC: Bend 90° for tube TU 25 PVC / Bend 90°, Ø 25 mm, PVC (Each) | 0 | No | Gas Suppression | ISD
539 | AN 25-90 PVC: Angle 90° for tube TU 25 PVC / Angle 90°, Ø 25 mm, PVC (Each) | 0 | No | Air Sampling | ISD
540 | AN 25-45 PVC: Angle 45° for tube TU 25 PVC / Angle 45°, Ø 25 mm, PVC (Each) | 0 | No | Beams | ISD
541 | TP 25 PVC: T-piece for tube TU 25 PVC or FH 25 PVC / T-piece, Ø 25 mm, PVC (Each) | 0 | No | Conventional | ISD
542 | CR 25 PVC: Cross for tube TU 25 PVC or FH 25 PVC / Cross, Ø 22 mm, PVC (Each) | 0 | No | Addressable | ISD
543 | SO 25 PVC: Socket to connect two tubes TU 25 PVC or FH 25 PVC / Socket, Ø 25 mm, PVC (Each) | 0 | No | Gas Suppression | ISD
544 | SJ 25 PVC: Srew-junction for tubes with O-RingTU 25 PVC or FH 25 PVC / Screw-junction piece, Ø 25 mm, PVC (Each) | 0 | No | Air Sampling | ISD
545 | EC 25 PVC: End-cap for tube TU 25 PVC or FH 25 PVC / End-cap, Ø 25 mm, PVC (Each) | 0 | No | Beams | ISD
546 | Pipe Clip PVC 25mm (Each) | 0 | No | Conventional | ISD
547 | CC 25 PVC: Compressed-air connection for tube TU 25 PVC / Compressed-air connection, Ø 25 mm, PVC | 0 | No | Addressable | ISD
548 | DF 25 PVC: Flange for tube TU 25 PVC for the monitoring of ventilation ducts. Per duct 3 pieces of DF 25 PVC are required, 2 for the aspirating stub, 1 for the air recirculation. Ventilation duct flange, Ø 25 mm, PVC | 0 | No | Gas Suppression | ISD
549 | Clip 2.0 PA: Only for PVC and ABS pipes with 25 mm diameter / Sampling hole clip red, hole Ø 2 mm, PA (Pack of 10 units) | 0 | No | Air Sampling | ISD
550 | Clip 2.5 PA: Only for PVC and ABS pipes with 25 mm diameter / Sampling hole clip red, hole Ø 2.5 mm, PA (Pack of 10 units) | 0 | No | Beams | ISD
551 | Clip 3.0 PA: Only for PVC and ABS pipes with 25 mm diameter / Sampling hole clip red, hole Ø 3 mm, PA (Pack of 10 units) | 0 | No | Conventional | ISD
552 | Clip 3.5 PA: Only for PVC and ABS pipes with 25 mm diameter / Sampling hole clip red, hole Ø 3.5 mm, PA (Pack of 10 units) | 0 | No | Addressable | ISD
553 | Clip 4.0 PA: Only for PVC and ABS pipes with 25 mm diameter / Sampling hole clip red, hole Ø 4 mm, PA (Pack of 10 units) | 0 | No | Gas Suppression | ISD
554 | Clip 4.5 PA: Only for PVC and ABS pipes with 25 mm diameter / Sampling hole clip red, hole Ø 4.5 mm, PA (Pack of 10 units) | 0 | No | Air Sampling | ISD
555 | Clip 5.0 PA: Only for PVC and ABS pipes with 25 mm diameter / Sampling hole clip red, hole Ø 5 mm, PA (Pack of 10 units) | 0 | No | Beams | ISD
556 | Clip 5.5 PA: Only for PVC and ABS pipes with 25 mm diameter / Sampling hole clip red, hole Ø 5.5 mm, PA (Pack of 10 units) | 0 | No | Conventional | ISD
557 | Clip 6.0 PA: Only for PVC and ABS pipes with 25 mm diameter / Sampling hole clip red, hole Ø 6 mm, PA (Pack of 10 units) | 0 | No | Addressable | ISD
558 | Clip 6.5 PA: Only for PVC and ABS pipes with 25 mm diameter / Sampling hole clip red, hole Ø 6.5 mm, PA (Pack of 10 units) | 0 | No | Gas Suppression | ISD
559 | Clip 7.0 PA: Only for PVC and ABS pipes with 25 mm diameter / Sampling hole clip red, hole Ø 7 mm, PA (Pack of 10 units) | 0 | No | Air Sampling | ISD
560 | Clip REV PA: Clip without hole for revision purpose / Maintenance clip red, PA, w/o drilling (Pack of 10 units) | 0 | No | Beams | ISD
561 | SF ABS: Sampling-funnel for tubes TU 25XXX / Sampling-funnel, ABS | 0 | No | Conventional | ISD
562 | SP 36 PVC: For tubes TU 25 PVC/ABS to create the sampling point type “sampling tube stiff with rosette”. Has to be glued into the tubes TU 25 PVC or ABS / Rosette for sampling tube stiff, PVC Diameter a: 21.5 mm / Diameter b: 36 mm (Pack of 10 units) | 0 | No | Addressable | ISD
563 | SP 36 ABS: For tubes TU 25 PVC/ABS to create the sampling point type “sampling tube stiff with rosette”. Has to be glued into the tubes TU 25 PVC or ABS / Rosette for sampling tube stiff, ABS Diameter a: 21.5 mm / Diameter b: 36 mm (Pack of 10 units) | 0 | No | Gas Suppression | ISD
564 | SP M20 PVC: Sampling point for ceiling ducts to connect flex sampling pipe (FT 21 PA.). To connect the flex sampling pipe FT 21 PA. Inclusive self sealing coupling SC 20ST PA / Sampling point for ceiling duct, M20 / Ø 36 mm white, PVC | 0 | No | Air Sampling | ISD
565 | SP M20 ABS: Sampling point for ceiling ducts to connect flex sampling pipe (FT 21 PA.). To connect the flex sampling pipe FT 21 PA. Inclusive self sealing coupling SC 20ST PA / Sampling point for ceiling duct, M20 / Ø 36 mm grey ABS | 0 | No | Beams | ISD
566 | SP M20 PVC-Set: Sampling point for ceiling ducts. Complete set incl. T-Piece TP 25XXX, flex sampling pipe (FT 21 PA) and sampling point (SP M20 XXX) / Sampling point for ceiling duct, M20, Ø 36 mm white, PVC, complete set Length sampling stub: 0,8m | 0 | No | Conventional | ISD
567 | SP M20 ABS-Set: Sampling point for ceiling ducts. Complete set incl. T-Piece TP 25XXX, flex sampling pipe (FT 21 PA) and sampling point (SP M20 XXX). / Sampling point for ceiling duct, M20, Ø 36 mm grey, ABS, complete Set Length sampling stub: 0,8m | 0 | No | Addressable | ISD
568 | SP TU6 PVC Set: Complete capillary tube-set for the installation in sampling pipes TU 25 PVC. Incl. T-piece TP 25 PVC, reduction RE 25-6 PVC and capillary stub 1.5m / Capillary tube set, d=6mm PVC | 0 | No | Gas Suppression | ISD
569 | HEAT 3.0 PVC: Sampling point with heating PVC (Set) Ø 3,0 mm / RED | 0 | No | Air Sampling | ISD
570 | HEAT 3.5 PVC: Sampling point with heating PVC (Set) Ø 3,5 mm / BLUE | 0 | No | Beams | ISD
571 | HEAT 4.0 PVC: Sampling point with heating PVC (Set) Ø 4,0 mm / GREEN | 0 | No | Conventional | ISD
572 | HEAT 4.5 PVC: Sampling point with heating PVC (Set) Ø 4,5 mm / BLACK | 0 | No | Addressable | ISD
573 | HEAT 5.0 PVC: Sampling point with heating PVC (Set) Ø 5,0 mm / BROWN | 0 | No | Gas Suppression | ISD
574 | HEAT 3.0 ABS: Sampling point with heating ABS (Set) Ø 3,0 mm / RED | 0 | No | Air Sampling | ISD
575 | HEAT 3.5 ABS: Sampling point with heating ABS (Set) Ø 3,5 mm / BLUE | 0 | No | Beams | ISD
576 | HEAT 4.0 ABS: Sampling point with heating ABS (Set) Ø 4,0 mm / GREEN | 0 | No | Conventional | ISD
577 | HEAT 4.5 ABS: Sampling point with heating ABS (Set) Ø 4,5 mm / BLACK | 0 | No | Addressable | ISD
578 | HEAT 5.0 ABS: Sampling point with heating ABS (Set) Ø 5,0 mm / BROWN | 0 | No | Gas Suppression | ISD
579 | Heat Resistor: Replacement for the sampling point with heating HEAT X.X PVC/ABS | 0 | No | Air Sampling | ISD
580 | CCF25 PVC: Cable connection fitting set for T-junctions of the tubes in deep-freeze rooms / Cable Connection Fitting Ø 25 mm, PVC (Set) | 0 | No | Beams | ISD
581 | CCF25 ABS: Cable connection fitting set for T-junctions of the tubes in deep-freeze rooms / Cable Connection Fitting Ø 25 mm, ABS (Set) | 0 | No | Conventional | ISD
582 | SLW 0.5 wt: Silicon litz wire 0.5mm² to connect the heating resistors in the heating nozzles HEAT X.X PVC/ABS / Silicon litz wire 0,5 mm2, WHITE (orders in lengths per 100 meters) | 0 | No | Addressable | ISD
583 | SLW 0.5 bk: Silicon litz wire 0.5mm² to connect the heating resistors in the heating nozzles HEAT X.X PVC/ABS / Silicon litz wire 0,5 mm2, BLACK (orders in lengths per 100 meters) | 0 | No | Gas Suppression | ISD
584 | WCU 535: For the introduction of the supply of the sampling point with heatin into the aspirating tube, with internal clamps / Wiring connection unit Ø 25 mm, PC | 0 | No | Air Sampling | ISD
585 | FBS 25 PC: Filter-box small, Ø 25 mm, PC | 0 | No | Beams | ISD
586 | FBS 25 PC EFM 5er: Filter-mat for filter box small / Filter Mat, small, for filter box small (Pack of 5 units) | 0 | No | Conventional | ISD
587 | FBL 25 PC: Filter box large including filter-mat. Inserted into the sampling pipe before ASD / Filter-box large, Ø 25 mm, PC | 0 | No | Addressable | ISD
588 | FBL 25 PC EFM 5er: Filter mat large for filter box large (Pack of 5 units) | 0 | No | Gas Suppression | ISD
589 | FBX 25 PC: Filter box extra large including 2 filter-mats and 1 holder for the filter-mat. Inserted into the sampling pipe before ASD / Filter-box extra large, Ø 25 mm, PC | 0 | No | Air Sampling | ISD
590 | Filter-Mat X: Filter mat for filter box extra large | 0 | No | Beams | ISD
591 | Holder Filter-Mat X: Holder for Filter-Mat X | 0 | No | Conventional | ISD
592 | DFU 535L: Dust filter unit large, Ø 25 mm | 0 | No | Addressable | ISD
593 | DFU 535L RC: Replacement cartridge for DFU 535L | 0 | No | Gas Suppression | ISD
594 | DFU 535XL: Dust filter unit extra large, Ø 25 mm | 0 | No | Air Sampling | ISD
595 | DFU 535XL RC: Replacement cartridge for DFU 535XL | 0 | No | Beams | ISD
596 | DTB 25 PC: Dirt trap box, Ø 25 mm | 0 | No | Conventional | ISD
597 | WRB 25 PVC: Water retaining box standard, Ø 25 mm, PVC/PC | 0 | No | Addressable | ISD
598 | WRB 25 ABS: Water retaining box standard, Ø 25 mm, ABS/PC | 0 | No | Gas Suppression | ISD
599 | 2X 2000 SERIES COMPACT REPEATER PANEL | 7350 | No | Air Sampling | G2
600 | 2X-F1 ADDRESSABLE FIRE PANEL 1 LOOP XP95 PROTOCOL | 12300 | No | Beams | G2
601 | 2X-F1 ADDRESSABLE FIRE PANEL 1 LOOP, LARGE ENCLOSURE | 8600 | No | Conventional | G2
602 | 2X-F1-S ADDRESSABLE FIRE PANEL 1 LOOP XP95, SMALL ENCLOSURE | 12000 | No | Addressable | G2
603 | 2X-F1-S ADDRESSABLE FIRE PANEL 1 LOOP, SMALL ENCLOSURE | 8350 | No | Gas Suppression | G2
604 | 2X-F2 ADDRESSABLE FIRE PANEL 2 LOOP XP95 PROTOCOL, SMALL ENCLOSURE | 15500 | No | Air Sampling | G2
605 | 2X-F2 ADDRESSABLE FIRE PANEL 2 LOOP XP95, LARGE ENCLOSURE | 15850 | No | Beams | G2
606 | 2X-F2 ADDRESSABLE FIRE PANEL 2 LOOP, LARGE ENCLOSURE | 121000 | No | Conventional | G2
607 | 2X-F2 ADDRESSABLE FIRE PANEL 2 LOOP, SMALL ENCLOSURE | 11800 | No | Addressable | G2
608 | 2X-FR ADDRESSABLE REPEATER FIRE PANEL, LARGE ENCLOSURE | 9100 | No | Gas Suppression | G2
609 | 2X-FR-S ADDRESSABLE REPEATER FIRE PANEL, SMALL ENCLOSURE | 7300 | No | Air Sampling | G2
610 | ARITECH FP1216C PANEL | 15850 | No | Beams | G2
611 | ARITECH FP1264C PANEL | 24000 | No | Conventional | G2
612 | ARITECH FP2864C PANEL | 16250 | No | Addressable | G2
613 | NITTAN EVOLUTION 1 ADDRESSABLE PANEL | 8500 | No | Gas Suppression | G2
614 | ONEKBD | 4900 | No | Air Sampling | G2
615 | ONEMINI | 7100 | No | Beams | G2
616 | TELEDATA ONE | 13400 | No | Conventional | G2
617 | ZITON ZP3 2 LOOP ADDRESSABLE FIRE CONTROL PANEL | 18075 | No | Addressable | G2
618 | ZITON ZP3 4 LOOP ADDRESSABLE FIRE CONTROL PANEL | 22200 | No | Gas Suppression | G2
619 | ZITON ZP3 REPEAT DISPLAY UNIT (RDU) | 7920 | No | Air Sampling | G2
620 | ZP2 1 LOOP ADDRESSABLE FIRE CONTROL PANEL, LARGE ENCLOSURE | 7600 | No | Beams | G2
621 | ZP2 1 LOOP ADDRESSABLE FIRE CONTROL PANEL, SMALL ENCLOSURE | 8350 | No | Conventional | G2
622 | ZP2 2 LOOP ADDRESSABLE FIRE CONTROL PANEL, LARGE ENCLOSURE | 12100 | No | Addressable | G2
623 | ZP2 2 LOOP ADDRESSABLE FIRE CONTROL PANEL, SMALL ENCLOSURE | 11835 | No | Gas Suppression | G2
624 | ZP2 COMPACT REPEATER PANEL | 7375 | No | Air Sampling | G2
625 | ZP2-FR-99 ZP2 REPEATER PANEL, LARGE ENCLOSURE | 8000 | No | Beams | G2
626 | ZP2-FR-S-99 ZP2 REPEATER PANEL, SMALL ENCLOSURE | 7810 | No | Conventional | G2

## CategoryB
ID | Utilities | Unit Cost | Outsourcuing | Supplier
1 | PVC Pipe (4m Length) | 30 | No | CFS (Newton Park)
2 | Bosel Pipe (4m Length) | 180 | No | CFS (Newton Park)
3 | PH30 (1mm/200m) | 2050 | No | G2
4 | PH30 (1mm/500m) | 5795 | No | CFS (Newton Park)

## CategoryC
ID | Description | Unit Cost | Outsourced
1 | Trenching (per m) - Concrete | 250 | Yes
2 | Core Drilling | 1500 | Yes
3 | Hole Filling | 2000 | Yes
4 | Scissor Lift - 14m - per day | 1500 | Yes